ĐẠI HỌC QUỐC GIA THÀNH PHỐ HỒ CHÍ MINH

TRƯỜNG ĐẠI HỌC BÁCH KHOA

🙞☼🙜

CO3111 – Multidisciplinary Project – IS

PROJECT: SMART LAB

LECTURER: Vo Thi Ngoc Chau

GROUP 4

| STUDENT NAME | STUDENT ID |
| --- | --- |
| NGUYEN LE CAO TUONG | 2353300 |
| LE DANG MINH NGHIA | 2352806 |
| DO THAI PHONG | 2352903 |
| PHAM THANH PHONG | 2352910 |

1. Stakeholders and Key Users

- Our SMART LAB project involves a diverse group of stakeholders who interact with or benefit from the automated laboratory system. These stakeholders range from individuals conducting daily academic work in the labs to the technical teams keeping the system online, and up to the management level focused on the university's facility costs and energy efficiency.

A/ Key users:

- Students & Researchers: Require a safe, well-lit, and climate-controlled environment for their work. The system must verify that air quality is safe and provide immediate notifications to these users.

- Lab Administrators: Responsible for safety compliance and system oversight. They require the ability to set safety thresholds, review historical logs, and receive Air Quality confirmations.

B/ Support key users:

- IT/System Operators: Maintaining the network connectivity of the ESP32/microcontrollers and ensuring that the data board (Web App) remains online. Manage the database and server-side issues.

- Maintenance Personnel: Use the activity logs to monitor the performance of hardware (like fans or lights) to predict when repairs are needed.

C/ Other stakeholders:

- Facility/University Management: Interested in energy efficiency data to reduce operational costs by ensuring equipment only runs when necessary. They require notifications regarding total "time in use" and "energy used" per lab session.

2. Business requirement

No.1 - Continuous Monitoring: The system shall continuously collect environmental and occupancy data (Light, Temp, Air Quality, and Presence) and display readings on a centralized dashboard without interruption.

No.2 - Admin Threshold Control: The system shall allow authorized users (Lab Administrators) to configure and update room-specific threshold profile (e.g., acceptable ranges for temperature, air quality, and light level) and apply the profile to device via the web dashboard.

No.3 - Automated Alert & Trigger: When a threshold is violated (“Danger” condition is detected), the system must simultaneously trigger the correct actuator (Exhaust Fan, Lights, Cooling fans), generate alerts with severity levels (e.g., OK/Warning/Danger) and send notifications including time, and a reason code describing the violation. When a room is unoccupied, the system shall apply energy-saving actions to manage non-essential loads.

No.4 - Hybrid Control Modes: The system shall provide manual remote control for authorized users (Lab Administrators/Technicians) via the web app interface to override automation when needed, including turning managed devices on/off and acknowledging or silencing local alarms, with immediate feedback of the device state.

No.5 - Universal Logging: The system shall record all relevant operational events in an immutable activity log, including sensor readings, alerts, automated actions, and manual user actions (who did what, when, from which interface, and the outcome), to support traceability, compliance review, and troubleshooting.

No.6 - Centralized Visualization: The system implements a web application (Dashboard) that serves as a unified interface for all laboratory operations. This platform provides real-time visualization of all environmental sensor data including air quality, light, and temperature while integrating a dedicated notification center for threshold alerts and system status updates.

No.7 - Role-Based Access (RBAC): The system shall support user authentication and role-based access control, ensuring that each user role has appropriate permissions (e.g., Students/Researchers: read-only lab status; Lab Administrators: configure thresholds and policies; Technicians: view diagnostics and close maintenance actions; Facility/Management: view dashboards and reports).

No.8 - System Diagnostics: The system shall monitor device and gateway connectivity (heartbeat/last-seen status) and provide fault indications when a device becomes offline or data is not received within a defined time window; in connectivity loss scenarios, the system shall preserve critical safety behavior locally (fail-safe) and synchronize data once connectivity is restored.

3. System Description

- This system is designed to automate laboratory environments by monitoring occupancy, air quality, brightness, and temperature. It aims to ensure student convenience, safety, reduce operational costs through energy efficiency (equipment only runs when necessary), and provide administrators with control (threshold & manually control) via a web-based dashboard.

| Module | Functionality | Technical Details |
| --- | --- | --- |
| Module 1: Receive data from input device | - Collects environmental data and occupancy status within the laboratory. | - Input 1: Temperature/Humidity (DHT22). - Input 2: Light sensors (BH1750). - Input 3: Air Quality (MQ-135). - Input 4: Presence/Movement sensor (LD2410). |
| Module 2: Verify if the data exceed a certain threshold | - Compare real-time sensor data with the pre-defined threshold. | - Detects if the data violates the threshold value or if the lab is empty to initiate power-saving protocols. |
| Module 3: Control output device | - Automatically triggers hardware responses or allows manual remote overrides. | - Output 1: Exhaust fan system to remove hazardous air/gases. - Output 2: Lighting system. - Output 3: Cooling Fans. |
| Module 4: Activity log | - Maintains a historical record of all sensor data and user/system interactions. | - Logs of real-time environmental metrics (Temp, Light, CO2). - Records device activation times and user manual overrides. |
| Module 5: Implementation of a data dashboard | - Provides a centralized web/app interface for monitoring and control. | - Displays the real-time status of the lab environment. - Includes toggles for Auto/Manual modes and input fields to set thresholds. |

Circuit design:

Flow chart:

Web UI:

4. Main Use Cases

- UC1 - Threshold Configuration:

Primary Users: Lab Administrators.

Description: Lab Administrators can define thresholds for temperature, light, and air purity via the dashboard. The system then automatically manages the lab environment based on these custom profiles.

Requirement Fulfilled: No.2 Admin Threshold Control.

- UC2 - Real-time Monitoring & Control:

Primary Actors: All Users (View-only for Students, Full access for Admins/Management).

Description: Users access the web application to view real-time readings of air quality, light, and temperature, alongside a notification center for status updates.

Requirements Fulfilled: No.1 Continuous Monitoring & No.6 Centralized Visualization.

- UC3 - Automated Hazard Response & Alerting:

Primary Actors: System (executor), Students & Researchers (receivers), Lab Administrators (receivers).

Description: When a “Danger” condition is detected (e.g., poor air quality), the system automatically triggers exhaust fans or cooling fans, generates severity alerts, and sends immediate notifications with reason codes.

Requirement Fulfilled: No.3 Automated Alert & Trigger.

- UC4 - Automated Energy Saving (Auto-Off):

Primary Actors: System (executor).

Description: If users forget to turn off equipment when leaving, the presence sensor detects the empty room and cuts power to non-essential devices after a set timeout.

Requirement Fulfilled: No.3 Automated Alert & Trigger.

- UC5 - Manual Hardware Override:

Primary Actors: Lab Administrators, IT/System Operators (Technicians).

Description: Authorized users can manually toggle lights or fans through the web interface if they need to bypass the automated sensor logic, turn on/off devices, or silence alarms.

Requirement Fulfilled: No.4 Hybrid Control Modes.

- UC6 - Viewing Reports & History:

Primary Actors: Lab Administrators, Facility/University Management, Maintenance Personnel.

Description: Users can access historical charts to analyze environmental trends over time. Maintenance checks the immutable logs to see who performed manual overrides and to predict hardware repairs.

Requirement Fulfilled: No.5 Universal Logging.

- UC7 - User Authentication & Role Management:

Primary Actors: IT/System Operators (Managers), All Users (End-users).

Description: Users log into the system and are granted appropriate permissions based on their assigned role (e.g., read-only for students, configuration access for admins).

Requirement Fulfilled: No.7 Role-Based Access (RBAC).

- UC8 - System Health Monitoring & Diagnostics:

Primary Actors: IT/System Operators, System (executor).

Description: The system monitors device connectivity. If a device goes offline, operators receive a fault indication. The system preserves safety behaviors locally and synchronizes data once connection is restored.

Requirement Fulfilled: No.8 System Diagnostics.